## Colombia
Colombia Expo Osaka Pavillion - Construction open invitation bidding form
The following questionnaire and related documents have been provided in English, or Japanese as a reference. The questionnaire should be answered in English, preferably or Japanese, and must be stamped with an official seal.
I. Basic Information of the Project
Background of the Colombia Pavilion at the Expo Osaka 2025 | PROCOLOMBIA is responsible for organizing the Colombia Pavilion to participate in the Expo 2025 Osaka. With the theme of "Designing Future Society for Our Lives", the Colombia Pavilion will highlight the unique charm of Colombian culture, and demonstrate Colombian vision and efforts to • Saving Lives: Generating countermeasures to prevent the development of infectious diseases through improved public health, disaster preparedness, risk reduction, and coexistence with nature. The National Government seeks to develop, through health for life, an intensive knowledge system that allows for the revitalization of scientific research and technological development. • Empowering Lives: Promoting high-quality distance education through the use of ICT; extending a healthy life; and maximizing human potential through the use of AI and robotics. • Connecting Lives: Promoting the power of collaboration and joint creation, advanced communications enabled by ICT, and the design of a data-based society. Colombia welcomes the consideration of "life," not only for humans but also in a broader sense of the various creations and nature surrounding humans, and share with the world the vision of "Colombia: World Power of Life"
The Osaka Expo Site is located in the "Yumeshima Island" on the waterfront of Osaka City. Colombia will participate the Expo 2025 Osaka by self-building the Colombian Pavilion. Is situated in the thematic area dedicated to the subtheme of Empowerment, in the plot configured as self-built, with an area of 875.89 m2. It holds a strategic location as it is very close to one of the entrances leading to the Pavilion. Colombia is allowed to construct a pavilion of up to 1,532 m2, with a maximum height of 15m.
The Colombian Pavilion shall be constructed by adopting the whole-process Project Management Consultancy mode.
Construction and procurement requirements | 1. Construction period. ① Mainly including civil engineering, water supply and drainage engineering, electrical engineering, intelligent weak current engineering, HVAC engineering, landscape engineering, and equipment leasing or procurement etc.; ② Communication and coordination with the Organizer of the Expo 2025 Osaka, as well as coordination of construction site management and construction material transportation; ③ Cooperating with the installation of exhibition items at the Colombia Pavilion.
2. Operation period. Responsible for engineering and construction warranty to repeair deffects, during the pavilion operation period to ensure timely repair in case of any project quality problem.
3. Demolition. Responsible for demolition of the Project, disposal of building material waste, and backfilling to ensure the site can meet the site handover requirements of the organizing committee of the Expo 2025 Osaka.
Technical requirements | 1. Architectual rendering of the Colombia Pavilion building (subject to the bidding documents) and following the construction guidelines for Type A (refer to the attachements)
2. The Colombia Pavilion sits on a plot area of 875.89 m2, and is a single floor building with a total footprint dimension of 18.2m x 28.2m and a total height of 5.8m. The Pavilion has a lightweight structure mezzanine floor to accommodate the administrative zones of the Pavilion. The cumulative built-up area of the pavilion sits at 581.5 m2. The Pavilion has an additional facade structure that lies on the South-Western and North-Western edges of the plot, and which is independent from the main building. This facade has a depth of 1.6m and a total height of 10m. The Pavilion building is to be made of modular structural systems that are quick to fabricate, assemble and disassemble. This Modular structure should have maximum structural spans of 12m, through the use of truss beams or alternatives. The foundation system should be a floating foundation system designed and implemented in reinforced concrete. The 10 m independent facade structure should be made of triangular trusses to support the height needed. In terms of materials, the main pavilion will be made cladded with metal cladding panels that are easy to install and that are readily available in the market. For the independent 10m facade structure, it will be cladded with translucent membrane fabric and will have integrated lighting in it.
Timeline requirements | 1. The general basic design of the Colombia Pavilion has been completed (attachment).
2. The selected general contractor of the Colombia Pavilion will be confirmed and announced by June 10, 2024.
3. The building structure will need to be completed before October 19, 2024.
4. The decoration, mechanical and electrical installation, and construction work will be completed before January 3, 2025.
5. The installation of exhibition items should be completed before end of March 15 2025.
6. The Colombia Pavilion will be put into full operation from April 13, 2025 to October 13, 2025;
7. The demolition and site handover will be completed within 6 months after the closing ceremony.
Site requirements | 1.This Project will be implemented at “Yumeshima Island” in Osaka, Japan.
Applicant interest | Please Select the box indicating your interest in participating in the Colombia Expo pavilion construction bidding process and, fill in the information section II. "Basic information of general contractor" please apply before 12:00 of April 22th (Japanese time) . Send the information to the email: tokyo@procolombia.co If you submit "Yes," you have expressed interest. Afterwars, a meeting will be scheduled for inquiries and clarifications. |  |  |  | YES
NO
II. Basic Information of general contractor
Company name
Registered capital |  | Date of establishment
Registered address
Scope of business
Postal code |  |  | Total number of employees
Is it a Japan-based company or a foreign-based Japanese enterprise? Please describe
Contact information | Contact person |  | Tel
| Website |  | Email
Provide all relevant qualification certificates required for undertaking construction of the Colombia Pavilion project | The general contractors designated by each participating country: （Participants shall appoint contractors that are registered with the permit under the Construction Business Act and employ qualified staff
Do you plan a separate bidding or a joint bidding? |  | If a joint bidding is planned, the division of labor shall be
The situation of construction projects undertaken in Japan (especially the performance of museums, exhibition halls, and expos) | Project name | Cooperation content |  | Contract amount | Time
Already participated in the construction work related to the Expo Osaka 2025 in Japan or not | Project name | Cooperation content |  | Contract amount (optional) | Time
Company profile | A separate attachment is allowed
III. Content of the Construction Fee Quotation Proposal Note: The deadline for the submission of the section "III. Construction Fee Quotation Proposal" should be provided within the following 3 weeks after the first meeting held between the Expo Colombia team and the general contractor applicant who expressed its interest to participate and considering the schedule timeline of the project.
Please introduce your company's advantages in completing this Project
About the construction cost | Please estimate the construction cost of this Project according to the existing data and the supply situation in the Japanese market. (Please provide your valuable opinions on the market price of this Project. The relevant contents will be for reference only but not affect your participation in the follow-up procurement activities of this Project. Please describe it according to the market situation and your own situation).
Please provide preliminary calculation bases or considerations (such as contracting cost per square meter).
Information regarding contractual forms | Please provide your suggestions regarding the contract applicable format, currency type, progress payment ratio, etc.
About professional subcontracting | Please briefly describe your preliminary considerations if you will be requiring professional subcontracting in this Project and potential candidate information
Suggestions on procurement for this Project | Please make suggestions on the time and method of general contracting and procurement for construction of the Colombia Pavilion according to the schedule.
Separate exhibit bidding | The exhibition layout is undertaken by a different professional contractor, please provide suggestions on the work interface, exhibit contractor relationships, etc.
Other relevant comments or questions
Attachments: 1)General basic design of the Colombia Pavilion 2) GL 4-7-1 Construction and Demolition Work Guidelines for Self-Built Pavilions (Type A) 3. Colombia plot
Applicant company name: |  |  | Name |  | Signature
Date: